Construction of Access Road, Water Supply, Gas Supply and Telecommunication Network for Kvarlis Baga Ltd

Sub-Project

Kvareli Municipality

Environmental Screening and Environmental Management Plan

WORLD BANK FINANCED

REGIONAL DEVELOPMENT PROJECT (RDP II)

Public-Private Partnership Program (PPP)

May, 2014

Environmental Screening and Classification of Subproject

Kvarlis Baga Ltd. is a dairy production company located in Tsitskanaantseri village of Kvareli municipality, Kakheti region. The subproject (SP) area connects to the capital of Georgia – Tbilisi - through the Tbilisi-Kvareli motor road. It is located in 150 km distance from Tbilisi.

The SP envisages gravelling of the central road of Tsitskanaantseri, arrangement of 3 new wells for irrigation-technical water supply, arrangement of gas supply to the Kvarlis Baga territory, and providing the Internet access.

The SP will rehabilitate a section of the central road in the village Tsitskanaantseri which runs from Kvareli-Lagodekhi motorway to the arable plots (1,5km long, 6.0 meter wide). The road is totally dilapidated due to storm water, and movement of pedestrians and vehicle is complicated.

The works include graveling the road and cleaning-rehabilitation of the earth ditches existing along the road.  Arrangement of passages with metal d-300mm pipes, at the connections and driveways. The road is bordering private houses from both sites. There are no small vendors along the street whose business could be interrupted during rehabilitation works. Storm water will be discarded into the irrigation canal located at the end of the road near the arable plots.

The SP envisages arrangement of three new wells for supplying irrigation-technical water to village Tsitskanaantseri and Kvarlis Baga Ltd. The sites allotted for well fields are Kvarely Municipality property. Three water wells (#2, #3 and #4) are to be drilled. Water discharge of each well will comprise 1.1 l/sec or 94 m3/day. The wells are arranged with 120 m depth and d=168X6 metal pipe. The well #2 will have a 5.94 m3 capacity submerged pump with a   70 m pump head installed on it. There will be control devices installed on top of all of the three pumps.  The site allocated for drilling of the water well is located to the west of Kvarlis Baga Ltd. premises, 150 m away from the fence. The water well #3 will be drilled to the north of village Kuchatani, 350 m away from village Tisntskaantseri and to the east of Sanavardo road section. The site allocated for water-well #4 is situated to the south of Kvareli, in 7 km, to the west of the road section near the north-east angle of the farm land.

The SP includes works for the arrangement of branching from the medium pressure gas pipeline laid along the Kvareli-Lagodekhi highway, for the purpose of supplying gas to the enterprise. The works will be coordinated with Sokar Georgia Gazi Kakheti Ltd. The SP envisages arranging of metering unit RVG G-40 on existing average pressure pipeline of d=250 mm and average pressure gas polyethylene pipeline  of d=63 mm (24 m), conductivity of which per hour will be 3002.0 m3, when the pressure is 0,5 kg/m2. The gas polyethylene pipeline will be installed under the Kvareli-Lagodekhi road by using horizontal drilling technique without damage of the road pavement. Gas supply will be interrupted for maximum 2-3 hours, due to the arrangements of the branch gas pipeline.

Internet access will be provided by extend aerial fiber optic cable (2000 m) in parallel with existing electric wires  from Tsitskanaantseri village to Kvarlis Baga Ltd.

- IMPACT IDENTIFICATION

| Has the subproject a tangible impact on the environment? | The subproject (SP) has tangible positive social impact. |
| --- | --- |
| What are the significant beneficial and adverse environmental effects of the subproject? | The SP is expected to have a long term positive social impact through improving living and transportation conditions of the local population. It will decrease existing nuisance to community, such as dust, emissions, vibration and noise. The expected negative environmental and social impacts are likely to be short term and typical for small to medium scale rehabilitation works in urban landscape: noise, dust, vibration, and emissions from the operation of construction machinery; generation of construction waste; generation of the asbestos contained waste due to the demolition of the asbestos pipes; disruption of traffic and pedestrian access. |
| Does the subproject have any significant potential impact on the local or affected communities? | The road will be rehabilitated within the existing footprint. No extension is planned. The sites allotted for well fields are Kvarely Municipality property (see cadastral information as attached files). Therefore no new land take or other type of resettlement is expected. The long term positive socio-economic impact will be beneficial and related with the improvement of local population living conditions, attraction of private sector investment, and improvement of the availability to the irrigation water availability. Negative impacts are short term and limited to the construction site. They are related to the possible disturbance described above. |
| What impact has the subproject on the human health? | The long term impact of the improved transportation conditions of the village Tsitskaantseri will be beneficial for the residents and guests. Minor negative impacts are related to dust, emissions, noise and vibration during construction period. |

- MITIGATION MEASURES

| What alternatives to the subproject design have been considered and what mitigation measures are proposed? | Given that the SP envisages rehabilitation of the existing road, no alternatives have been considered. As a result of a hydro-geological survey, initial location of the well #2 has been changed, as discharge volume of groundwater was doubtable. The expected negative impacts of the construction phase can be easily mitigated. The contractor will be responsible for the waste disposal at the permitted location, use the quarry materials from the licensed quarries only, prevent water and soil from pollution (fuel spills due to equipment failure, concrete spills etc.), avoid disturbance of population (noise, dust, emissions) through proper work/supplies scheduling, good maintenance of the construction machinery, etc. Asbestos pipes will be demolished and disposed following to the procedures described in the EMP and in accordance with written agreement with MoEPNR and Solid Waste Management Company of Georgia" Ltd. Demolition works and proper disposal of the asbestos pipes will be strictly controlled by MDF. |
| --- | --- |
| What lessons from the previous similar subprojects have been incorporated into the project design? | MDF have wide experience of implementation of medium and large scale road and streets rehabilitation subprojects financed by various Donor Organizations. Based on lessons learned from previous similar projects, design envisages not only rehabilitation of road pavement but also rehabilitation of storm water drainage network, which will help to maintain rehabilitated pavement. |
| Have concerned communities been involved and have their interests and knowledge been adequately taken into consideration in subproject preparation? | Population of the Tsitskanaantseri village is informed about the upcoming plans on the central road rehabilitation and installation of the wells for Irrigation - technical water supply system and have positive attitude. EMP will be made available for Tsitskanaantseri population will be discussed in a consultation meeting prior to the commencement of works. |

- CATEGORIZATION AND CONCLUSION

Based on the screening outcomes,

subproject is classified as environmental Category 	A

B

C

Conclusion of the environmental screening:

- Sub-project is declined

- Sub-project is accepted

If accepted, and based on risk assessment, subproject preparation requires:

- Completion of the Environmental Management Checklist

for Small Construction and Rehabilitation Activities

- Environmental Review, including development of

Environmental Management Plan

Social Screening of Subprojects

| Social safeguards screening information | Yes | No |
| --- | --- | --- |
| 1 | Is the information related to the affiliation and ownership status of the subproject site available and verifiable? (The screening cannot be completed until this is available) |  |  |
| 2 | Will the project reduce other people’s access to their economic resources, such as land, pasture, water, public services or other resources that they depend on? |  |  |
| 3 | Will the project result in resettlement of individuals or families or require the acquisition of land (public or private, temporarily or permanently) for its development? |  |  |
| 4 | Will the project result in the temporary or permanent loss of crops, fruit trees and Household infra-structure (such as granaries, outside toilets and kitchens, etc)? |  |  |
| If answer to any above question (except question 1) is “Yes”, then OP/BP 4.12 Involuntary Resettlement is applicable and mitigation measures should follow this OP/BP 4.12 and the Resettlement Policy Framework |
| Cultural resources safeguard screening information | Yes | No |
| 5 | Will the project require excavation near any historical, archaeological or cultural heritage site? |  |  |
| If answer to question 5 is “Yes”, then OP/BP 4.11Physical Cultural Resources is applicable and possible chance finds must be handled in accordance with OP/BP and relevant procedures provided in the Environmental Management Framework. |

PART A: General Project and Site Information

| INSTITUTIONAL & ADMINISTRATIVE |
| --- |
| Country | Georgia |
| Subproject title | Construction of Access Road, Water Supply, Gas Supply and Telecommunication Network for Kvarlis Baga Ltd. |
| Scope of subproject and activity | Kvarlis Baga Ltd. is a dairy production company located in Tsitskanaantseri village of Kvareli municipality, Kakheti region. The subproject (SP) area connects to the capital of Georgia – Tbilisi - through the Tbilisi-Kvareli motor road. It is located in 150 km distance from Tbilisi. The SP envisages gravelling of the central road of Tsitskanaantseri, arrangement of 3 new wells for irrigation-technical water supply, arrangement of gas supply to the Kvarlis Baga territory, and providing the Internet access. The SP will rehabilitate a section of the central road in the village Tsitskanaantseri which runs from Kvareli-Lagodekhi motorway to the arable plots (1,5km long, 6.0 meter wide). The road is totally dilapidated due to storm water, and movement of pedestrians and vehicle is complicated. The works include graveling the road and cleaning-rehabilitation of the earth ditches existing along the road. Arrangement of passages with metal d-300mm pipes, at the connections and driveways. The road is bordering private houses from both sites. There are no small vendors along the street whose business could be interrupted during rehabilitation works. Storm water will be discarded into the irrigation canal located at the end of the road near the arable plots. The SP envisages arrangement of three new wells for supplying irrigation-technical water to village Tsitskanaantseri and Kvarlis Baga Ltd. The sites allotted for well fields are Kvarely Municipality property. Three water wells (#2, #3 and #4) are to be drilled. Water discharge of each well will comprise 1.1 l/sec or 94 m3/day. The wells are arranged with 120 m depth and d=168X6 metal pipe. The well #2 will have a 5.94 m3 capacity submerged pump with a 70 m pump head installed on it. There will be control devices installed on top of all of the three pumps. The site allocated for drilling of the water well is located to the west of Kvarlis Baga Ltd. premises, 150 m away from the fence. The water well #3 will be drilled to the north of village Kuchatani, 350 m away from village Tisntskaantseri and to the east of Sanavardo road section. The site allocated for water-well #4 is situated to the south of Kvareli, in 7 km, to the west of the road section near the north-east angle of the farm land. The SP includes works for the arrangement of branching from the medium pressure gas pipeline laid along the Kvareli-Lagodekhi highway, for the purpose of supplying gas to the enterprise. The works will be coordinated with Sokar Georgia Gazi Kakheti Ltd. The SP envisages arranging of metering unit RVG G-40 on existing average pressure pipeline of d=250 mm and average pressure gas polyethylene pipeline of d=63 mm (24 m), conductivity of which per hour will be 3002.0 m3, when the pressure is 0,5 kg/m2. The gas polyethylene pipeline will be installed under the Kvareli-Lagodekhi road by using horizontal drilling technique without damage of the road pavement. Gas supply will be interrupted for max. During 2-3 hours, due to the arrangements of the branch gas pipeline. Internet access will be provided by extend aerial fiber optic cable (2000 m) in parallel with existing electric wires from Tsitskanaantseri village to Kvarlis Baga. Main quantities of works are as following: Fixing the existing pavement by cutting earth, cleaning the existing ditches from sedimentary soil and transporting to 2 km distance – 1875.0 m3; Transporting and spreading sand-gravel – 1990.0 m3; Arrangement of passages with metal d-300 mm pipes, at the connections and driveways- 508m; Laying metal d=273X6 mm pipes for wells – 31,5m; Laying metal d=168X6 mm pipes for wells – 360.0 m; Laying metal d=89X3.5 mm pipes for wells – 150 m; Installing 5.94 m3 capacity water pump with pump head of 70 m – 1 unit; Arrangement of reinforced concrete water wells by the wellfields, d=1000 mm, d=1500 mm – 2 units; Installing of d=80 mm valve gates – 3 units. |
| Institutional arrangements (World Bank) | Task Team Leader Ahmed Eiweida | Safeguards Specialist Darejan Kapanadze |
| Implementation arrangements (Borrower) | Implementing Entity MDF Giorgi Somkhishvili | Works Supervisor STEGET srl and ESTIA srl Joint Venture | Works Provider Ltd ``Java`` |
| SITE DESCRIPTION |
| Name of site | Village Tsitskanaantseri, Kvareli Municipality, Kakheti region |
| Describe site location | The SP site is located in Eastern Georgia, Kakheti Region, in Kvareli municipality. Access to the construction sites from Tblisi is possible through Tbilisi- Kvareli motorway and distance from Tbilisi is approximately 150 km. |
| Who owns the land? | Municipal Property |
| Description of geographic, physical, biological, geological, hydrographic and socio-economic context | Kvareli Municipality encompasses the southern slopes of the Main Range of Caucasian Mountains and the part of the Alazani Valley. The municipality occupies the area of some 1000, 8 km2. About 45 % of the territory of the municipality is hilly and the other 45 % is a plateau characterized by the clay soil. The main water resources of the municipality are River Alazani with its left tributes: Incoba, Chelti, Duruji, Avaniskhevi, Shoroxi, Apnistskali and Areshi. There are over 40 000 people living permanently in the Kvareli municipality. They are mostly occupying the territory between the 200-600 meters from the sea level. The 76 % of the whole population lives in the villages and the rest 24 % in the town. Village Tsitskanaantseri is located in the northern part of the Alazani plain on 770 m above sea level. Distance from town Kvareli is 6 km. Population of village Tsitskanaantseri is 528 inhabitants. The road to be rehabilitated is located in urban area in the central part of the village. The road is bordering private houses from both sites. There are no small vendors along the street whose business could be interrupted during rehabilitation works. Three new wells for supplying irrigation-technical water will be arranged near the agriculture plots (arable lands). |
| Locations and distance for material sourcing, especially aggregates, water, stones | Average distance of transportation of local construction materials will be around 10 km. Water will be available at the construction site from the municipal water supply system. Construction waste will be disposed at Kvareli municipal landfill located at 7 km from SP site. |
| LEGISLATION |
| Identify national & local legislation & permits that apply to project activity | The SP has been classified as low risk Category B according to the WB policies and the EMF. Kvareli municipal authority approved the SP. Georgian legislation does not require any type of environmental review, approval, or permitting for the SP. Though according to the national regulatory system, construction materials must be obtained from licensed providers, license for extraction of mineral products must be obtained for the use of ground water (according to the governmental decree #136, 11.08.05, and license conditions should be adhered to. if contractor wishes to open quarries or extract material from river bed (rather than purchasing these materials from other providers), then the contractor must obtain licenses for extraction, if contractor wishes to operate own concrete plant (rather than purchasing these materials from other providers), then the contractor must prepare technical report on inventory of atmospheric air pollution stationary source and agree with the Ministry of Environment and Natural Resources Protection (MoENRP); permanent placement of the inert material (cut ground and sedimentary soil) generated in the course of earth works in a selected location must be approved by local (municipal) governing bodies in written; construction waste must be disposed on the nearest municipal landfill in accordance with written agreement with the Solid Waste Management Company of Georgia Ltd. under the Ministry of Regional Development and Infrastructure; dismantled asbestos pipes (road rehabilitation the Tsitsanaantseri village) must be disposed on the nearest municipal landfill in accordance with written agreement with written agreement with MoENRP and the Solid Waste Management Company of Georgia Ltd. under the Ministry of Regional Development and Infrastructure. Copies of extraction licenses (if applicable), permits for operating concrete plants (if applicable), and waste disposal permits will be attached to this EMP once the contractor is selected and mobilized to the work site. GOST and SNIP norms must be adhered. |
| PUBLIC CONSULTATION |
| Identify when / where the public consultation process took place | Subproject-specific EMP will be made available for local population and will be discussed in a consultation meeting prior to the commencement of works. |
| ATTACHMENTS |
| Attachment 1. Maps and Pictures Attachment 2. Documents on EMP disclosure and public consultation process (to be provided) Attachment 3. Waste disposal agreement (to be provided) |

PART B: safeguards information

| ENVIRONMENTAL /SOCIAL SCREENING |
| --- |
| Will the site activity include/involve any of the following? | Activity/Issue | Status | Triggered Actions |
|  | Building rehabilitation | [ ] Yes [ ] No | See Section A below |
|  | New construction | [ ]Yes [ ] No | See Section A below |
|  | Individual wastewater treatment system | [ ] Yes [ ] No | See Section B below |
|  | Historic building(s) and districts | [ ] Yes [ ] No | See Section C below |
|  | Acquisition of land | [ ] Yes [ ] No | See Section D below |
|  | Hazardous or toxic materials | [ ] Yes [ ] No | See Section E below |
|  | Impacts on forests and/or protected areas | [ ] Yes [ ] No | See Section F below |
|  | Handling / management of medical waste | [ ] Yes [ ] No | See Section G below |
|  | Traffic and Pedestrian Safety | [ ] Yes [ ] No | See Section H below |

PART C: Mitigation measures

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| General Conditions | Notification and Worker Safety | The local construction and environment inspectorates and communities have been notified of upcoming activities; The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works); All legally required permits have been acquired for construction and/or rehabilitation; The Contractor formally agrees that all work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment; Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots); Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| General Rehabilitation and /or Construction Activities | Air Quality | During the fixing the existing pavement, drilling and spreading sand-gravel dust shall be suppressed by ongoing water spraying; Cutting earth and sedimentary soil generated from the fixing the existing pavement and cleaning the existing ditches, as well as from drilling shall be kept in controlled area and sprayed with water mist to reduce dust; The surrounding environment (side walks, roads) shall be kept free of debris to minimize dust; There will be no open burning of construction / waste material at the site; There will be no excessive idling of construction vehicles at sites. |
|  | Noise | Construction noise will be limited to restricted times agreed with local municipality; During operations the engine covers of generators, air compressors and other powered mechanical equipment shall be closed, and equipment placed as far away from residential areas as possible; The machinery should move only along the preliminarily agreed route; The maximum allowed speed should be restricted; Proper technical control and maintenance practices of the machinery should be applied; No-load operations of the vehicles and heavy machinery are not allowed. Proper mufflers will be used on machinery. |
|  | Water Quality | Contractor should be required to organize and cover material storage areas. The material storage sites should be protected from washing out during heavy rain falls and flooding through covering by impermeable materials Appropriate erosion and sediment control measures will be established such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers; Contractor will plan all excavations, topsoil and subsoil storage so as to reduce to a minimum any runoff; Revision of vehicles will be required to ensure that there is no leakage of fuel and lubricating materials. All machinery will be maintained and operated such that all leaks and spills of materials will be minimised. Daily plant checks (Vehicle Maintenance Procedure) will be undertaken to ensure no leaks or other problems are apparent. Vehicle maintenance, cleaning, degreasing etc will be undertaken in designated areas, of hard-standing, not over made ground. Maintenance points will not be located within 50m of any watercourse; Lubricants, fuel and solvents should be stored and used for servicing machinery exclusively in the designated sites, with adequate lining of the ground and confinement of possible operation and emergency spills. Spill containment materials (sorbents, sand, sawing, chips etc.) should be available on construction site; Wet cement and/or concrete will not be allowed to enter any watercourse, pond or ditch. |
|  | Waste management | Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities; Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers; Burning of waste on the SP site is forbidden; Construction waste will be collected and disposed properly on the nearest municipal landill; The records of waste disposal will be maintained as proof for proper management as designed; Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos). |
|  | Material supply | Use existing plants, quarries or borrow pits that have appropriate official approval or valid operating license; Obtain licenses for any new quarries and/or borrowing areas if their operation is required; Contractor will be required to submit to the MDF copies of the licenses, permits, written agreements, certificates, etc. to prove that all materials are obtained from licensed providers; Reinstate used sections of quarries and/or borrowing areas as extraction proceeds on or properly close quarries if extraction completed and license expired; Trucks of carrying construction materials and waste should be covered; Place speed regulating, diverting, and warning signs for traffic as appropriate. |
|  | Earthworks | Topsoil should be stripped before starting of earthworks; Proper topsoil storage practice should be applied to ensured to maintain physico-chemical and biological activity of the soil; Temporary protective silt fencing should be erected to avoid erosion (wash down); Stored topsoil should be used for reinstatement and landscaping; Topsoil from the sites, which will not be reinstated to the initial conditions will be distributed carefully on the surrounding area; Topsoil will be reinstated separately from subsoil, with care taken to avoid mixing of the materials; In case chance find is encountered in the course of earth works, the contractor must immediately stop any physical activity on site and informs the MDF. The MDF promptly notifies the Ministry of Culture and Monument Protection, which takes over responsibility for the following course of action. Works may resume only upon receipt of written permission from the Ministry of Culture and Monument Protection. |
| E. Toxic Materials | Asbestos management | asbestos located on the SP site shall be marked clearly as hazardous material; asbestos will be appropriately contained and sealed to minimize exposure; The asbestos prior to removal will be treated with a wetting agent to minimize asbestos dust; Asbestos will be handled and disposed by skilled & experienced professionals equipped with special PPE; If asbestos material is stored temporarily, the wastes should be securely enclosed inside closed containments and marked appropriately. Security measures will be taken against unauthorized removal from the site. The removed asbestos will not be reused; The asbestos will finally disposed on the nearest official landfill in accordance with written agreement with MoENRP and "Solid Waste Management Company of Georgia" Ltd. |
| Traffic and Pedestrian Safety | Direct or indirect hazards to public traffic and pedestrians by construction activities | (a) In compliance with national regulations the contractor will insure that the construction site is properly secured and construction related traffic regulated. This includes but is not limited to Signposting, warning signs, barriers and traffic diversions: site will be clearly visible and the public warned of all potential hazards; Construction sites of the drilling should be fenced and properly secured to prevent unauthorized access; Traffic management system and staff training, especially for site access and near-site heavy traffic; Provision of safe passages and crossings for pedestrians where construction traffic interferes. Appropriate lighting and well defined safety signs should be provided; Adjustment of working hours to local traffic patterns, e.g. avoiding major transport activities during rush hours or times of livestock movement. |

Annex 2. ENVIRONMENTAL Monitoring Plan

| Activity | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Who (Is responsible for monitoring?) |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTRUCTION PHASE |
| Supply with construction materials | Purchase of construction materials from the officially registered suppliers | In the supplier’s office or warehouse | Verification of documents | During conclusion of the supply contracts | To ensure technical reliability and safety of infrastructure | MDF, Construction supervisor |
| Transportation of consrtruction materials and waste Movement of construction machinery | Technical condition of vehicles and machinery Confinement and protection of truck loads with lining Respect of the established hours and routes of transportation | Construction site | Inspection | Unannounced inspections during work hours and beyond | Limit pollution of soil and air from emissions; Limit nuisance to local communities from noise and vibration; Minimize traffic disruption. | MDF, Construction supervisor, Traffic Police |
| Earth works | Temporary storage of excavated material in the pre-defined and agreed upon locations; Backfilling of the excavated material and/or its disposal to the formally designated locations; In case of chance finds immediate suspension of works, notification of the Ministry of Culture and Monument Protection, and resumption of works exclusively upon formal consent of the Ministry. Topsoil is striped before starting of the earthworks; Proper topsoil storage practice is applied; Temporary protective silt fencing is erected; Striped topsoil is used for reinstatement and landscaping. | Construction site | Inspection | In the course of earth works | Prevent pollution of the construction site and its surroundings with construction waste | MDF, Construction supervisor |
| Sourcing of inert material | Purchase of material from the existing suppliers if feasible; Obtaining of extraction license by the works contract and strict compliance with the license conditions; Terracing of the borrow area, backfilling to the exploited areas of the borrow site, and landscape harmonization; Excavation of river gravel and sand from outside of the water stream, arrangement of protective barriers of gravel between excavation area and the water stream, and no entry of machinery into the water stream. | Borrowing areas | Inspection of documents Inspection of works | In the course of material extraction | Limiting erosion of slopes and degradation of ecosystems and landscapes; Limiting erosion of river banks, water pollution with suspended particles and disruption of aquatic life. | MDF, Construction supervisor |
| Generation of construction waste | Temporary storage of construction waste in especially allocated areas; Timely disposal of waste to the formally designated locations | Construction site; Waste disposal site | Inspection | Periodically during construction and upon complaints | Prevent pollution of the construction site and nearby area with solid waste | MDF, Construction supervisor |
| Asbestos management | asbestos located on the SP site is appropriately contained and marked clearly as hazardous material; Asbestos is handled and disposed by skilled & experienced professionals equipped with special PPE Security measures are taken against unauthorized removal from the site. The asbestos is disposed in accordance with written agreement with MoENRP and the Solid Waste Management Company of Georgia Ltd | At construction site | Inspection of documents Inspection of works | In the course of demolition works | Prevent pollution by toxic materials To protect workers’ health | MDF, Construction supervisor |
| Traffic disruption and limitation of pedestrian access | Installation of traffic limitation/diversion signage; Storage of construction materials and temporary placement of construction waste in a way preventing congestion of access roads | At and around the construction site | Inspection | In the course of construction works | Prevent traffic accidents; Limit nuisance to local residents | MDF, Construction supervisor |
| Workers’ health and safety | Provision of uniforms and safety gear to workers; Informing of workers and personnel on the personal safety rules and instructions for operating machinery/equipment, and strict compliance with these rules/instructions | Construction site | Inspection | Unannounced inspections in the course of work | Limit occurrence of on-the-job accidents and emergencies | MDF, Construction supervisor |
| OPERATION PHASE |
| Maintenance of rehabilitated roads | Installation of relevant signage for traffic safety; Demarcation of the sections of streets under repair; Disposal of asphalt and or other waste from the repair works to the designated landfill. | Rehabilitated sections of roads | Inspection | During maintenance works | Prevent road accidents and disruption of traffic | Kvareli municipality |
| Maintenance of rehabilitated storm water drainage system | Periodic cleaning of drainage system from silt and solid waste. | Rehabilitated storm water drainage system | Inspection | During regular operation | Prevent congestion of storm water drainage system. | Kvareli municipality |
| Maintenance of the arranged wells | Good technical condition of irrigation water supply | Constructed wells | Inspection | Throughout operation of the site | Prevent impeding of water supply working. | Kvareli municipality |

Attachment 1. Map and pictures

Map of the road to be rehabilitated in the village Tsitskaantseri

Pictures of the road to be rehabilitated in the village Tsitskaantseri

Map of the well locations to be arranged within the SP

Pictures of the well locations to be arranged within the SP

Location of the well #2                                                                                             Location of the well #3

Location of the well #4

# Footnotes

Initially rehabilitation of the well #1 was planned. However the well  #1 has been rehabilitated by Kvarlis Baga Ltd., who is the owner of the land plot on which well #1 is located.

Initially rehabilitation of the well #1 was planned. However the well  #1 has been rehabilitated by Kvarlis Baga Ltd., who is the owner of the land plot on which well #1 is located.

Land acquisitions includes displacement of people, change of livelihood encroachment on private property this is to  land that is purchased/transferred and affects people who are living and/or squatters and/or operate a business (kiosks) on land that is being acquired.

Toxic / hazardous material includes but is not limited to asbestos, toxic paints, noxious solvents, removal of lead paint, etc.