## Krebs
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
# | Sub-chapter | Item | Cost in GEL
1 | B | Construction-repair works
2 | D | Dayworks
Total:
VAT - 18%
Grand total:

## B
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Sub-chapter B - Construction-repair works
# | Cost Estimation # | Cost Estimation Item | Total Cost in GEL
1 | 2 | 3 | 4
1 | B-1 | Sakrebulo building
2 | B-2 | Rehabilitation of bridge #1
3 | B-3 | Rehabilitation of bridge #2
4 | B-4 | Reconstruction of bridge #3 (chain bridge)
5 | B-5 | Rehabilitation of bridge #4
6 | B-6 | Rehabilitation of bridge #5
7 | B-7 | Rehabilitation of bridge #6
8 | B-8 | Rehabilitation of bridge #8
9 | B-9 | Reconstruction of bridge #9 (with belvedere)
10 | B-10 | Rehabilitation of bridge #10
11 | B-11 | Rehabilitation of bridge #11
13 | B-12 | Rehabilitation of Tskaltubo former railway station facades
14 | B-13 | Adapting Tskaltubo railway station building I floor for accomodation of the Resort Management Office
16 | B-14 | Rehabilitation-reconstruction of the fountain existing in the square by the railway station
Total

## B-1
Rehabilitation of the buildings and small pedestrian bridges existing in the central part of Tskaltubo
Sub-chapter B-1 Construction-repair works
# | Cost Estimation # | Cost Estimation Item | Total Cost in GEL
1 | 2 | 3 | 4
1 | B-1-1 | Rehabilitation of Sakrebulo building facades
2 | B-1-2 | Internal repair works for the Sakrebulo building
Total

## B-1-1
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation of Sakrebulo building facades
# B1-1
# | Work and cost description | Dimension | Quantity | Amount, in GEL
|  |  |  | Unit rate | Total
1 | 2 | 3 | 4 | 5 | 6
I.Dismantling works
1 | Assembling and disassembling on the facade of removable vertical wooden scaffolding | m2 | 228
2 | Stretching protective net on the removable vertical scaffolding (with information banners) | m2 | 228
4 | Dismantling of the existing door-windows and loading on the trucks | m2 | 213.6
8 | Creating aperture after installation of metal structures (see design) | m3 | 17
9 | Dismantling stair finishing | m2 | 7.8
13 | Transporting construction waste to 20 km distance from the building site | haul | 15
II. Construction-reconstruction works
1 | Filling up the aperture on the façade with brick | m3 | 0.8
2 | Reinforcing beam and apertures with metal (see design) | tn | 0.494
| Reinforcement a-III | kg | 30.86
3 | Reinforcement of walls with metal lath and shotcreting with b20 concrete | m3 | 1.1
| Reinforcement a-I | kg | 117.35
4 | Framing aperture with metal ( see design C-1 3 pieces) | tn | 2.633
5 | Arrangement of the hall ceiling with metal structures | tn | 1.905
6 | Arrangement of the hall ceiling with wooden beams | m3 | 2.16
7 | Arrangement of monolithic columns and belts with B20 concrete | m3 | 7
| Reinforcement a-I | kg | 88.6
| Reinforcement a-III | kg | 420.53
8 | Partial dismantling of wooden roof structures and installation of the new ones with antiseptization and fireproofing | m3 | 10.8
9 | Arrangement of roofing with metal tiles | m2 | 160
10 | Arrangement of gutters | run.m | 170
11 | Arrangement of collecting funnels | pieces | 19
12 | Arrangement of culverts | run.m | 205
III.Restoration-finishing works
1 | Installation of metal plastic windows | m2 | 186.6
2 | Installation of metal plastic door | m2 | 10.1
3 | Installation of solid wood door-windows, with glazing, fittings and lacquering | m2 | 16.9
4 | Installation of the door-window platband (moulding by the existing pattern) | run.m | 337
5 | Plastering corbels with cement mortar | run.m | 732.8
| Reinforcement a-III | kg | 225.9
6 | Arrangement of decorative elements on the corbels (moulding of the detail-1-by the existing pattern) | pieces | 75
7 | Arrangement of decorative railings of the balcony with precast concrete structures (creation of the pattern and moulding) | m2 | 4.69
8 | Arrangement of decorative metal abat-jour (staircase cover) with painting | m2 | 5.45
9 | Arrangement of decorative metal grating on the door, with painting | m2 | 5
10 | Finishing plinth with basalt slabs 92.3run.m. *0.8 | run.m | 73.84
11 | Finishing stairs with basalt slabs | m2 | 7.8
12 | Plastering façade with sand-cement | m2 | 1576.4
13 | High quality painting of the façade walls with water-based paint | m2 | 1576.4
Total

## B-1-2
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation works for accomodation of the Municipality Sakrebulo in the former police office building in Tskaltubo
# | Work and cost description | Dimension | Quantity | Cost
|  |  |  | Unit rate | Total
1 | 2 | 3 | 4 | 5 | 6
I | I Dismantling works
1 | Dismantling of brick walls | m3 | 38.9
2 | Dismantling of brick partition walls | m2 | 145.6
3 | Dismantling of cast in situ r/c stairs | m3 | 5
4 | Dismantling of the door assembly | m2 | 114.8
5 | Cleaning walls and ceilings of plaster | m2 | 5672.6
6 | Dismantling of existing floors | m2 | 1519.8
7 | Removing the existing cement lining | m2 | 1259.1
8 | Dismantling wooden structures on the II floor | m3 | 13.7
9 | Cleaning the building of construction waste | t | 935.4
10 | Loading waste on the dump trucks | t | 935.4
11 | Transporting waste to 20 km distance | t | 935.4
II | II Civil works
II -1 Arranging roofing on the 3.85 reference mark and attic
1 | Perforating walls for installation of metal elements | m3 | 1.2
2 | Installation of the metal framework on the refernce mark 3.85 m | t | 3.587
3 | Channel bar | t | 0.923
4 | Angle bar | t | 0.934
5 | I-beam | t | 1.59
6 | Assembly adjusting elements | kg | 140
7 | Arrangement of cast in situ r/c cover slab on the B20 metal framework, reference mark 3.85 m | m3 | 8
8 | Reinforcement | t | 0.51
9 | Arrangement of roofing with wooden beams, on 3.85 reference mark and attic | m3 | 76.9
II | II -2 Renforcing works
1 | Reinforcing walls and lintels with metal structures | t | 1.556
2 | Channel bar | t | 0.9287
3 | Angle bar | t | 0.463
4 | Strip bar | t | 0.135
II | II -3 Walls and partitions
1 | Arrangement of cast in situ r/c lintel | m3 | 0.6
2 | Reinforcement | t | 0.028
3 | Arrangement of walls with small size blocks | m3 | 29.2
4 | Arrangement of partition walls with blocks 20 cm | m3 | 11.64
5 | Arrangement of partition walls d=10 cm (with partition blocks) | m2 | 65
6 | Connecting existing and design walls with reinforcement bars | t | 0.104
II | II -4 Floors
1 | Arrangement of cement lining 40mm thick | m2 | 1286.5
2 | Waterproofing of floors on 3.5 m reference mark | m2 | 1286.5
3 | Laying flooring tiles on the adhesive cement | m2 | 143.5
4 | Arrangement of baseboards with flooring tiles on adhesive cement (h=8 cm) | m | 143.5
5 | Arrangement of laminated floor | m2 | 713.8
6 | Arrangement of the floor with artificial granite | m2 | 429.2
7 | Arrangement of baseboards with artificial granite | m2 | 429.2
II | II -5 Ceilings and stairs
1 | Arrangement of the suspended ceiling with "Armstrong" plates, on the metal framework | m2/t | 1384.9/13,64
2 | Arrangement of the plastic ceiling on the metal framework | m2/ | 122.8/1.12
4 | Plastering ceiling with compact gypsum | m2 | 27.3
5 | Processing and painting ceiling with oil paint | m2 | 27.3
6 | Rehabilitation-restoration of the stairs | m2 | 27
II | II -6 Walls
1 | High quality plastering of walls with compact gypsum | m2 | 3446.4
2 | Plasetring walls with sand cement | m2 | 600
3 | Plastering door-window jambs with compact gypsum | m2 | 285.4
4 | Arranging dalle on the walls | m2 | 600
5 | Painting walls with water paint, two coats | m2 | 3731.4
II | II -7 Door and window plinths
1 | Installation of MDF floor | m2 | 147.2
2 | Arrangement of metal plastic plinths | run.m | 109
II | II -8 Construction works for arrangement of the technical facility (boiler room)
1 | Manual excavation of earth | m3 | 5.936
2 | Manual backfilling of earth | m3 | 1.2
3 | Manual loading of earth on the dump truck | t | 9.165
4 | Transporting earth to 5 km distance | t | 9.165
5 | Arrangement of the gravel bed under the base slab | m3 | 15
6 | Arrangement of cast in situ r/c base slab | m3 | 7
| Reinforcement | t | 0.456
7 | Walling with small size blocks | m3 | 9.8
8 | Arrangement of cement lining, 40mm thick (on the floor) | m2 | 29
9 | Arrangement of cast in situ r/c cover slab | m3 | 3.3
| Reinforcement | t | 0.3
10 | Arrangement of cement lining, 40mm thick (on the roof) | m2 | 23
11 | Arrangement of the roof with 2 layers of Lynocrom | m2 | 23
12 | Arrangement of the boiler room framework, doors and widows with metal elements | t | 0.7754
| Pipe d=100mm | t | 0.211
| Channel bar #12 | t | 0.146
| Angle bar | t | 0.387
| Iron lattice | m2 | 35
| Reinforcement | t | 0.0056
| Metal sheet | t | 0.0258
13 | Arrangement of roofing with wood material | m3 | 1
14 | Arrangement of metal tile roofing | m2 | 17.5
15 | Plastering walls with sand cement | m2 | 96
16 | Processing and painting ceiling with oil paint | m2 | 96
17 | Installation of the metal door | m2 | 4.452
18 | Painting metal doors and walls with oil paint | m2 | 70
19 | Laying flooring tiles on adhesive cement | m2 | 29
20 | Installation and cost of metal bars | t | 0.056
Total of I and II Sub-chapters
III | III Internal sewage and water-supply
1 | Installation of polypropylene pipes | run.m | 294
| Polypropylene pipe d=50 | run.m | 24
| Polypropylene pipe d=40 | run.m | 12
| Polypropylene pipe d=32 | run.m | 90
| Polypropylene pipe d=25 | run.m | 36
| Polypropylene pipe d=20 | run.m | 116
| Polypropylene glass-fibre d=20 | run.m | 16
2 | Installation of polypropylene tee | pieces | 54
| Polypropylene tee 20/20/20 | pieces | 25
| Polypropylene tee 25/20/25 | pieces | 16
| Polypropylene tee 32/25/32 | pieces | 8
| Polypropylene tee 50/40/50 | pieces | 2
| Polypropylene tee 40/32/40 | pieces | 2
| Polypropylene tee 40/40/40 | pieces | 1
3 | Polypropylene valve | pieces | 58
| Valve d=20mm | pieces | 6
| Valve d=25mm | pieces | 4
| Valve d=50mm | pieces | 1
| Valve ,,arko" | pieces | 45
| Ball valve d=50mm | pieces | 2
4 | Installation of polypropylene shaped parts | pieces | 540
| Polypropylene knee, with female thread d=20 | pieces | 47
| Polypropylene knee d=32 | pieces | 30
| Polypropylene knee d=25 | pieces | 50
| Polypropylene knee Dd=20 | pieces | 250
| Polypropylene knee d=40 | pieces | 10
| Polypropylene knee d=50 | pieces | 10
| Plastic coupling d=32 | pieces | 22
| Plastic coupling d=25 | pieces | 10
| Polypropylene coupling d=20 | pieces | 30
| Polypropylene coupling d=40 | pieces | 4
| Polypropylene coupling d=50 | pieces | 10
| Polypropylene coupling d=20 | pieces | 24
| Polypropylene coupling d=25 | pieces | 20
| Polypropylene adapter 40X32 | pieces | 2
| Polypropylene adapter 32X25 | pieces | 8
| Polypropylene adapter 25X20 | pieces | 8
| Polypropylene adapter 40X50 | pieces | 2
| Adapter d=50 | pieces | 2
| Polypropylene filter d=50 | pieces | 1
5 | Closet basin set | sets | 18
| closet basin (with corrugated and flexible pipes) | sets | 18
6 | Sink with siphon and mixing faucet | pieces | 16
| Sink | pieces | 16
7 | Kitchen sink with siphon and mixing faucet | pieces | 1
| Kitchen sink | pieces | 1
8 | Floor drain | pieces | 8
| Floor drain | pieces | 8
9 | Installation of the urinal | sets | 5
| Urinal | sets | 5
10 | Shower cabin(et) (mixing faucet and shower) | sets | 1
11 | Electric water heater (flexible pipe) | sets | 1
12 | Gas water heater (flexible pipe) | sets | 1
13 | Water meter with the well 1000X1500 | sets | 1
14 | Arrangement of sewage system with plastic pipes d=100 mm | run.m | 98
| Plastic pipe d=100 mm | run.m | 90
| Plastic pipe d=150 mm | run.m | 8
15 | Arrangement of sewage system with plastic pipes d=50 mm | run.m | 135
| Plastic pipe d=50 mm | run.m | 135
16 | Installation of plastic tee | pieces | 71
| Plastic tee 100/100/100 | pieces | 26
| Plastic tee 100/50/100 | pieces | 10
| Plastic tee 50/50/50 | pieces | 35
| Plastic tee 150/100/150 | pieces | 2
17 | Installation of plastic shaped parts | pieces | 169
| Plastic knee d=100 135* | pieces | 22
| Plastic knee Dd=100 90* | pieces | 10
| Plastic knee d=50 135* | pieces | 50
| Plastic knee d=50 90* | pieces | 52
| Rubber adapter | pieces | 23
| Silicone | pieces | 6
| Plastic adapter 100X50 | pieces | 5
| Plastic adapter 100X150 | pieces | 1
18 | Sewerage manhole d=1 m | sets | 2
Total of sub-chapter III
Total of sub-chapters I,II and III
IV | IV Ventilation of water closets
1 | Exhauster L=2200 m3/hr Torvex FRO8 P=300 pa | sets | 1
2 | Air duct, galvanized thin-plate | m2 | 43
3 | Exhauster L=700 m3/hr Torvex FRO8 PP=200 pa | sets | 1
4 | Air duct, galvanized thin-plate | m2 | 15.9
5 | Exhaust grill | sets | 25
6 | Umbrella (hood) | pieces | 2
7 | Silencer | pieces | 2
Total of sub-chapter IV
Total of sub-chapters I,II,III and IV
Conditioning V
1 | Polypropylene fiber glass pipes | run.m | 1156
| Fiber glass polyethylene pipe d=20 mm | run.m | 28
| Fiber glass polyethylene pipe d=25 mm | run.m | 336
| Fiber glass polyethylene pipe d=32 mm | run.m | 224
| Fiber glass polyethylene pipe d=40 mm | run.m | 148
| Fiber glass polyethylene pipe d=50 mm | run.m | 136
| Fiber glass polyethylene pipe d=63 mm | run.m | 124
| Fiber glass polyethylene pipe d=75 mm | run.m | 160
2 | Installation of polypropylene tees | pieces | 374
| Polypropylene tee 25/25/25 | pieces | 8
| Polypropylene tee 32/25/32 | pieces | 32
| Polypropylene tee 40/25/40 | pieces | 26
| Polypropylene tee 50/25/50 | pieces | 38
| Polypropylene tee 63/25/63 | pieces | 30
| Polypropylene tee 75/75/75 | pieces | 6
| Polypropylene tee 63/63/63 | pieces | 8
| Polypropylene tee 63/50/63 | pieces | 4
| Polypropylene tee 40/32/40 | pieces | 8
| Polypropylene tee 32/20/32 | pieces | 8
| Polypropylene tee 50/32/50 | pieces | 6
| Polypropylene tee 50/20/50 | pieces | 8
| Polypropylene tee32/32/32 | pieces | 58
| Adapter d=25 | pieces | 142
3 | Installation of polypropylene shaped parts | pieces | 578
| Polypropylene knee Dd=20 | pieces | 20
| Polypropylene knee d=32 | pieces | 90
| Polypropylene knee d=25 | pieces | 250
| Polypropylene knee d=40 | pieces | 10
| Polypropylene knee d=50 | pieces | 10
| Polypropylene knee d=63 | pieces | 12
| Polypropylene knee d=75 | pieces | 12
| Polypropylene adapter 20X25 | pieces | 4
| Polypropylene adapter 32X25 | pieces | 12
| Polypropylene adapter 32X40 | pieces | 6
| Polypropylene adapter 50X40 | pieces | 6
| Polypropylene adapter 50X63 | pieces | 14
| Polypropylene adapter 75X63 | pieces | 8
| Polypropylene coupling d=32 | pieces | 20
| Polypropylene coupling d=25 | pieces | 24
| Polypropylene coupling d=20 | pieces | 6
| Polypropylene coupling d=40 | pieces | 12
| Polypropylene coupling d=50 | pieces | 12
| Polypropylene coupling d=63 | pieces | 10
| Polypropylene coupling d=75 | pieces | 40
4 | Thermal insulation of pipes d=63 | run.m | 124
5 | Thermal insulation of pipes d=50 | run.m | 136
6 | Thermal insulation of pipes d=40 | run.m | 148
7 | Thermal insulation of pipes d=32 | run.m | 636
8 | Thermal insulation of pipes d=25 | run.m | 336
9 | Thermal insulation of pipes d=20 | run.m | 28
10 | Thermal insulation of pipes d=75 | run.m | 160
11 | Wall radiators | pieces | 6
| Wall radiator 600X1600 | run.m | 2
| Wall radiator 600X1400 | run.m | 2
| Wall radiator 600X1200 | run.m | 1
| Wall radiator 600X600 | run.m | 1
12 | Winter-summer mode water radiators | sets | 71
13 | Polypropylene and high pressure flexible pipes | run.m | 572
| High pressure flexible pipe d=20 mm | run.m | 140
| Polypropylene pipe d=32 mm (for drainage) | run.m | 432
14 | Washing and hydraulic testing of the system | one-time | 1
Total
Total of sub-chaptersI,II,III and IV
V Conditioning
Boiler
1 | Installation of the boiler for heating 270 kvt | sets | 1
2 | Circulating pump H=15m, G=12m3/hr | pieces | 5
3 | Membrane expansion tank 500 l | pieces | 1
4 | Gas burner's ignition (330 kvt) | sets | 1
5 | Manometer | pieces | 8
6 | Automatic vent valve d=20 | pieces | 2
7 | Thermometer | pieces | 2
8 | Steel jointless pipe d=150 mm | run.m | 3
9 | Installation of steel branch pipes | pieces | 12
| Branch pipe d=63 | pieces | 6
| Branch pipe d=50 | pieces | 2
| Branch pipe d=40 | pieces | 4
| Check valve | pieces | 4
10 | Plastic ball valve | pieces | 41
| Valve d=20mm | pieces | 10
| Valve d=25mm | pieces | 1
| Valve d=32mm | pieces | 3
| Valve d=50mm | pieces | 11
| Valve d=63mm | pieces | 4
| Valve d=75mm | pieces | 12
11 | Polypropylene fiber glass pipes | run.m | 88
| Fiber glass polyethylene pipe d=20 mm | run.m | 24
| Fiber glass polyethylene pipe d=25 mm | run.m | 4
| Fiber glass polyethylene pipe d=32 mm | run.m | 8
| Fiber glass polyethylene pipe d=50 mm | run.m | 20
| Fiber glass polyethylene pipe d=63 mm | run.m | 8
| Fiber glass polyethylene pipe d=75 mm | run.m | 24
11 | Installation of polypropylene tees | pieces | 10
| Polypropylene tee 32/32/32 | pieces | 1
| Polypropylene tee 50/25/50 | pieces | 1
| Polypropylene tee 63/20/63 | pieces | 2
| Polypropylene tee 75/20/75 | pieces | 6
12 | Installation of polypropylene shaped parts | pieces | 134
| Polypropylene knee Dd=20 | pieces | 20
| Polypropylene knee d=25 | pieces | 4
| Polypropylene knee d=32 | pieces | 10
| Polypropylene knee d=50 | pieces | 20
| Polypropylene knee d=63 | pieces | 4
| Polypropylene knee d=75 | pieces | 8
| Adapter with female thread d=75 | pieces | 14
| Adapter with female threadd=63 | pieces | 4
| Adapter with female thread d=50 | pieces | 4
| Adapter with male thread d=50 | pieces | 12
| Adapter with male thread d=32 | pieces | 2
| Adapter with male threadd=25 | pieces | 2
| Adapter with male thread d=50 | pieces | 2
| Polypropylene fittings | pieces | 30
12 | Installation of the chiller 320 kvt | sets | 1
13 | Sewage interceptor d=100 | pieces | 2
| Interceptor | pieces | 2
14 | Sewage heavy-wall piped=100 mm | run.m | 8
| Pipe d=100 mm | run.m | 8
15 | Excavation of the trench for heating system | m3 | 10
16 | Sand bedding | m3 | 4
17 | Backfilling earth | m3 | 4
18 | Manual loading of earth on the dump trucks | t | 9.165
19 | Disposal of earth | t | 11.7
20 | Arrangement of base for the pipe | m3 | 1.5
21 | Installation of the chimney d=250 mm with painting | t | 0.476
22 | Thermal insultaion of pipes and painting with anticorrosive paint | m2 | 2
Total
Total of Sub-chapters I,II,III,IV and V
VI Electricity
1 | Power panel | sets | 1
2 | Switchboard with automatic switch | sets | 1
3 | Laying the cable | m | 3599
4 | Automatic switch | pieces | 39
5 | Armstrong lighting fixture 40 vt | pieces | 324
6 | Lighting fixture 60 vt | pieces | 28
7 | Single button switch | pieces | 54
8 | Doubel button switch | pieces | 6
9 | Socket | pieces | 122
10 | Switch box | pieces | 108
11 | Plug box (various amterials) | sets | 182
11 | Exhauster | pieces | 6
12 | Computer socket RJ 45 5th categ | pieces | 26
13 | telephone socket RJ 45 5th categ | pieces | 26
14 | Cable | m | 2080
15 | Ministation | sets | 1
16 | Server cabinet with cooler unit and shelf | sets | 1
17 | Computer | pieces | 1
18 | Continuous current source | pieces | 1
Total
Grand Total

## B-2
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Bridge #2 Rehabilitation
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1' | 2' | 3' | 4' | 5' | 6'
III. Restoration and facing works
1 | facing Bridge edges with basalt (40m.) | sq.m. | 24
2 | facing Bridge with bazaltis tiles | sq.m. | 31
3 | covering the carriageway with cobblestones | sq.m. | 44
4 | metal decorative Railings (see design) made of and treated with anti-corrosive solution | m | 40
5 | painting the railings with black paint | sq.m. | 64
Total

## B-3
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Bridge #3 Rehabilitation
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I.Dismantling works
3 | Dismantling attachment of damaged poles | c | 16
4 | Dismantling attachment of damaged railing posts | rm | 12
5 | Dismantling of damaged railing posts | c | 60
6 | Dismantling damaged bottom of the railing | rm | 27.4
7 | Dismantling finishing components from concrete posts | c | 5
8 | Dismantling finishing components between the posts | c | 8
9 | Remove the damaged plaster from bridge pier, railings and posts | m² | 87
10 | Assembly and dismantling of scaffolding | m² | 70
11 | Cleaning the bridge and adjacent slopes from concrete waste, loading on dumpers and disposing on landfills | m³ | 40
II. Building and construction works
1 | Strengthening of the bridge with reinforced concrete b-20 | m3 | 9
| Armature a-I | kg | 56.42
| Armature a-III | kg | 936.91
2 | Rehabilitation of mass concrete stair and bearing wall | m3 | 3
| Armature a-I d-8 | kg | 44
3 | Reinforcement of railings (See design) | kg | 129.76
| Armature a-III | kg | 129.76
4 | Clean up and concrete with b-20 damaged part of the bridge arch | m³ | 0.6
III. Restoration and facing works
1 | Repairing concrete stair | m² | 5.6
2 | Facing stairs with basalt curbs | m² | 7.6
3 | Assembling new arms to stair railing (casting new ones in imitation of existing pattern) | rm | 27.4
4 | Assembling attachments of posts (casting new ones in imitation of existing pattern) | c | 16
5 | Restoration of concrete posts | c | 16
6 | Restore both sides of finishing components of the posts ( casting new ones in imitation of existing pattern) | c | 32
7 | Restoration both sides of finishing components between the posts ( casting new ones in imitation of existing pattern) | c | 8
8 | Dismantling, processing and assembling of railing posts | c | 30
9 | Assembling of new railing posts (casting new ones in imitation of existing pattern) | c | 60
10 | Assembling attachments of railing posts (casting new ones in imitation of existing pattern) | rm | 24
11 | Assembling bottom of the railing (casting new ones in imitation of existing pattern) | rm | 27.4
12 | Plastering the supporting columns and arch with stone concrete solution | m² | 87
13 | Treatment,padding and painting the front side with 2 coats of high quality paint | m² | 134
Total

## B-4
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Bridge #4 Rehabilitation
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I. Restoration and Facing works
1 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 8.739
2 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 14.2
3 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 46.5
4 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 24
5 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 8
6 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 23
7 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 26
8 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 215.8
9 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 215.8
10 | Arranging basalt decorative columns with metal fasteners 820*1020*1200=2c, 900*1100*1700=4c | m³ | 6
Total

## B-5
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation of pedestrian bridge in the town of Tskhaltubo
B#5
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I. Restoration and Facing works
1 | Installing reinforced concrete railings of travertine stone | m³ | 9.6
2 | Facing the floor with travertine pieces of 50 mm | m² | 23
3 | Installing decorative flowerpots on railings taking account of water drainage | m | 11.4
4 | Plastering the bearing structures of the bridge with high quality sand-cement mortar | m² | 8
5 | Painting the plastered surface with waterproof paint | m² | 8
Total

## B-6
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation Bridge B #6
/Description of construction activity/
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I Preparatory and demolition works
1 | Disassembling of the existing metal posts (returning of scrap metal) 4 units H=4,0m | Lineal metre | 2
2 | Disassembling of the existing metal cable (returning of scrap metal) | Lineal metre | 11
II Buildings and restoration works
1 | Manual soil processing | m³ | 2.6
2 | Backfilling and tamping down | m³ | 1.3
3 | Mon. concrete base for lamp “B 20” | m³ | 2
4 | Laying of embedded parts | Ton | 0.0488
5 | Filling in the caved hollow on the left prop with “B20” concrete | Cubic metre | 0.4
6 | Plastering the filled in hollow | Sq.metre | 1.2
7 | Arrangement of metal posts h=4,542m, processing with corrosion resistant solution and painting | Unit | 4
8 | Arrangement of decorative metal railings, processing with corrosion resistant solution and painting | m² | 24
9 | Arrangement of steel cable Ø20mm, processing with corrosion resistant solution and painting | Lineal metre | 65
10 | Arrangement of metal fittings, processing with corrosion resistant solution and painting, 8 units | Lineal metre | 24
11 | Arrangement of lighting fixtures on metal posts | Unit | 4
12 | Cladding the plinths of the posts with granite tiles, 3 cm thick | m² | 4
13 | Removing rust from the existing steel double-T shaped beams and metal decking, processing with corrosion resistant solution and painting (two layers on each side) | m² | 68
14 | Arrangement of cable decorative (forged) details | m² | 16
15 | Arrangement of electric wiring using copper cable (2X4 sq.mm.) in polyvinylchloride corrugated pipes (d=20mm) | Lineal metre | 75
16 | Arrangement of grounding loop for lighting | Unit | 4
17 | Loading and removal of construction waste to a distance of 20 km away | Ton | 10
Total

## B-7
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation Bridge B #7
/Description of construction activity/
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
New part of the bridge
1 | Production of concrete with density of 10 cm | cubic meter | 1.6
2 | Finishing work for new cast-in-situ reinforced concrete part of the bridge | cubic meter | 7.6
| Reinforcement rods A500C | ton | 0.555
3 | Finishing bridge railings with narrow blocks | cubic meter | 3.5
4 | Driling of existing railing | drilling | 850
5 | Anchoring (ancor bolts M20 and M16) | piece | 850
6 | Beautification of decorative metal part and pillaring (See design) | ton | 4.774
7 | Anchoring with epoxy adhesive | rm | 340
8 | Treatment metal parts with antirust lacquer | ton | 5.274
9 | Painting metal parts with paint for metal surfaces | ton | 5.274
10 | Paving bridge floor with 50mm basalt curbs | sq.m. | 235
11 | Covering edges and parapet with metal lath (metal lath - 222 kg, anchor bolts-22 kg) | sq.m. | 102.8
12 | Facing bridge edges and parapet with naturals stones from Nichbisi (See design) | sq.m. | 102.8
13 | Facing intrados of the arch with gerogian briks | sq.m. | 7.8
13 | Facing bridge edges with basalt curbs(42,5gr rm) (See design) | sq.m. | 34
Total

## B-8
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation Bridge #8
/Description of construction activity/
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I Preparatory and demolition works
1 | Disassembling of the existing metal railings (returning of scrap metal) | Lineal metre | 24
2 | Disassembling of the existing metal posts (returning of scrap metal) | Lineal metre | 16
3 | Disassembling of the existing metal cable (returning of scrap metal) | Lineal metre | 64
4 | Temporary disassembling of the existing span, in order to put it back in place later | Ton | 1.675
5 | Disassembling of the damaged reinforced concrete prop on the right (demolition) | Cubic metre | 10.4
6 | Loading and removal of construction waste to a distance of 20 km away | Ton | 25
II Building and installation works
1 | Manual soil processing | m³ | 2.6
2 | Backfilling and tamping down | m³ | 1.3
3 | Mon. concrete base for lamp “B 20” | m³ | 2
4 | Laying of embedded parts | Ton | 0.0488
5 | Laying of gravel base | Cubic metre | 0.5
6 | Arrangement of prop on the right “B 20” | Cubic metre | 10.4
6.1 | Reinforcement A III | Ton | 0.0365
7 | Assembling of the existing disassembled span and decking | Ton | 1.675
8 | Arrangement of metal posts h=4,542m, processing with corrosion resistant solution and painting (two layers) F=7,0 sq.m. | Unit | 4
9 | Arrangement of decorative metal railings, processing with corrosion resistant solution and painting (two layers) | m² | 24
10 | Arrangement of steel cable Ø20mm, processing with corrosion resistant solution and painting F=10,0 Sq.m. | Lineal metre | 65
11 | Arrangement of metal fittings, processing with corrosion resistant solution and painting, 12 units | Lineal metre | 24
12 | Arrangement of lighting fixtures on metal posts | Unit | 4
13 | Equipping the decorative metal arch between the posts with lighting, processing with corrosion resistant solution and painting | Unit | 2
14 | Cladding the plinths of the posts with granite tiles, 3 cm thick | m² | 4
15 | Removing rust from the existing steel double-T beams and metal decking, processing with corrosion resistant solution and painting (two layers on each side) | m² | 68
16 | Arrangement of cable decorative (forged) details | m² | 16
17 | Covering the paths to the bridge (right, left) with concrete “B 20” | Cubic metre | 1.5
18 | Cladding the paths to the bridge (right, left) with heat-treated granite (thickness – 4 cm) | Sq.m. | 19.8
19 | Arrangement of electric wiring using copper cable (2X4 sq.mm.) in polyvinylchloride corrugated pipes (d=20mm) | Lineal metre | 75
20 | Arrangement of grounding loop for lighting | Unit | 4
Total

## B-9
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation Bridge B#9
/Description of construction activity/
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I.Dismantling works
1 | Dismantle existed metal railings | rm | 20
2 | Dismantle concrete curbs | m² | 26
3 | Dismantle steps and stairway enclosures | m² | 175
4 | Cleaning the bridge and adjacent slopes from concrete waste, loading on dumpers and disposing on landfills | m³ | 40
II. Building, construction and restoration works
1 | Arranging, treatment and painting with anticorrosion paint metal structures of the bridge | t | 1.747
2 | Arranging cast-in-situ reinforced concrete tiles of the bridge | m³ | 5.14
| Armature a-III | kg | 474.65
3 | Manual tillage | m³ | 0.7
4 | Arranging concrete raft for stone pillars | m³ | 0.64
5 | Fasteners for decorative stone pillars | piece | 4
6 | Arranging, treatment and painting with anticorrosion paint metal structures of the belvedere | t | 1.12
7 | Arranging wood structure of belvedere roof | m³ | 0.29
| Metal | kg | 4.22
8 | Tinning the roof of belvedere | m² | 9
9 | Arranging 6mm veneer wood on the roof of cupola | m² | 22
10 | Arranging roof with lamellar cover | m² | 22
11 | Arranging decorative metal railing | rm | 18.5
12 | Arranging decorative supporting frame of the belvedere | set | 1
13 | Arranging decorative metal rise of the belvedere | piece | 4
14 | Installing the bronze spire on the roof | piece | 1
15 | Rehabilitation and restoration of existing metal lamps | piece | 4
16 | Covering the floor of the bridge with basalt curbs (ruttless) | m² | 45.34
17 | Facing handrails and bearing wall of stairway enclosures with basalt curbs | m² | 175.13
Total

## B-10
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation Bridge B#10
/Description of construction activity/
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I Preparatory and Dismantling works
1 | Dismantle existed metal railings (recapruting salavge) | rm | 22
2 | Dismantle reinforced concrete curbs | m³ | 8.25
3 | Temporary dismantling of 2 #24 flanged beams and subsequent bringing back | ton | 0.6
4 | Dismantle 30cm thick damaged concrete from the left bearer | m³ | 1.35
5 | Carrying the constructional waste out at 20 km | ton | 25
6 | Cleaning the area from concrete waste, loading on dumpers and disposing on landfills | ton | 30
II Construction and Rehabilitation works
1 | Manual processing of prime coat | m³ | 0.6
2 | Backfilling and tamping the earth | m³ | 0.4
3 | Mass concrete basement for lamp `B 20~ | m³ | 0.6
4 | Arranging reinforced concrete raft on the left bearer `B 20~ | m³ | 1.35
4.1 | Armature A III | ton | 0.04
5 | Mass reinforced concrete tile `B 20~ | m³ | 6
5.1 | Armature A I | ton | 0.053
5.2 | Armature A III | ton | 0.253
5.3 | Arranging underground components | ton | 0.0962
6 | Assembling metal components of lamps ( See design), 4 pieces | ton | 0.08
7 | Arranging decorative metal railing | m² | 20
8 | Arranging lamps on metal risers | piece | 4
9 | Arranging decorative sun blinders with lighting ( See design) | set | 1
10 | Facing basement of riser with granite slabs | m² | 2
11 | Covering floor of the bridge with exposed concrete coat | m² | 32
12 | Cleaning of rust, treatment with anticorrosive solution and painting with 2 coats existing metal structures | m² | 13.5
13 | Treatment with anticorrosive solution and painting (2 coats) metal components (railing, sun blinds, rises) | m² | 38.5
14 | Strengthening rust-prone part of flanged beams with on lays from both sides | ton | 0.0062
15 | Bringing back temporary dismantled of 2 #24 flanged beams | ton | 0.6
16 | Arranging electro wiring with copper cable (2X4kv.mm.) in NP corrugated pipe (d=20mm) | rm | 60
17 | Arranging ground loops | piece | 5
Total

## B-11
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation Bridge B #11
/Description of construction activity/
N | Description of works and costs | unit | quantity | Estimated cost (GEL)
|  |  |  | per unit | total
1 | 2 | 3 | 4 | 5 | 6
I. Dismantling works
1 | Arranging temporary additional bearers on main beams of the bridge | m³ | 1
2 | Dismantle existing damaged wall and stair | m³ | 8
3 | Dismantle damaged plaster from the bridge walls | m2 | 84.2
4 | Drilling the walls d-30mm | piece | 250
5 | Drilling the concrete slabs | piece | 12
6 | Cleaning main mass concrete beams of the bridge from damaged concrete coats | m² | 8.82
7 | Dismantle damaged cover from the steps and floor of the bridge | m² | 75
8 | Dismantle damaged handholds | rm | 11.55
9 | Dismantle damaged railing posts | piece | 24
10 | Dismantle damaged heads of the column | piece | 6
11 | Dismantle damaged bottom of the railing | gm | 4.8
12 | Assembling and dismantling the scaffold | m² | 60
13 | Cleaning adjacent slopes of the bridge from concrete waste, loading on dumpers and disposing on landfills | m³ | 40
II. Building and Construction works
1 | Strengthening the bridge with reinforced concrete and metal | m³ | 7
| Armature a-I | kg | 64.35
| Armature a-III | kg | 74.66
| Processing and assembling of metal | t | 0.419
2 | Arranging guniting on mass concrete beams with b-20 concrete | m³ | 0.6
3 | Arranging in-situ wall and stair with B20 concrete | m³ | 8
| Armature a-I | kg | 234.54
| Armature a-III | kg | 23.11
4 | Strengthening walls with metal lath and guniting with B20 concrete | m³ | 1.6
| Armature a-I | kg | 158
| Armature a-III | kg | 58.63
5 | Reinforcing of railing | kg | 41.58
| Armature a-I | kg | 2.58
| Armature a-III | kg | 39
III. Restoration and Facing works
1 | Facing concrete coats with mosaic | m² | 71.1
2 | Facing concrete steps with basalt curbs | m² | 13.26
3 | Cleaning and restoration of bridge handholds | gm | 33
4 | Assembling new handholds for the bridge railing (casting new ones in imitation of existing patterns) | gm | 11.55
5 | Cleaning and restoration of railing posts | piece | 106
6 | Assembling new railing posts (casting new ones in imitation of existing patterns) | piece | 24
7 | Dismantle, restore and assemble the railing posts | piece | 15
8 | Restoration decorative components between railing posts ( from both sides) | m² | 33
9 | Cleaning and restoration of railing pillars | piece | 22
10 | Cleaning and restoration of column heads | piece | 19
11 | Assembling heads of columns (casting new ones in imitation of existing patterns) | piece | 6
12 | Cleaning and restoration of railing bottom | rm | 35
13 | Dismantle bottom of the railing and assembling the new one) | rm | 4.8
14 | Processing small space near to the bridge with mortar | m² | 25
15 | Contracting tiles on the covering with mortar 4cm | m² | 44.2
16 | 2 coats of seal course | m² | 44.2
17 | Facing with basalt curbs | m² | 44.2
18 | Processing and painting bridge railing with brick and concrete paint of high quality (2 coats) | m² | 229.5
Total

## B-12
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation of Tskaltubo former railway station
# B-12
N | Work and Cost Description | Dimension | Quantity | Estimated cost in GEL
|  |  |  | Unit rate | Total
1' | 2' | 3' | 4' | 5' | 6'
I Preparatory and dismantling works
1 | Dismantling sheet metal decking from the roof and parapet | m² | 550
2 | Dismantling damaged wooden structures of the roofing | m² | 165
3 | Removing the existing damaged plaster from the façade | m² | 164
4 | Removal-demolition of the wall damaged layer | m² | 117
5 | Cleaning facades of the paint coat | m² | 180
6 | Dismantling granite baseboard on the I floor | run.m | 64.5
7 | Assembling and disassembling on the facade of removable vertical wooden scaffolding | m² | 110
8 | Stretching protective net on the removable vertical scaffolding (with information banners) | m² | 270
9 | Manual loading of construction waste on the dump trucks and disposal | t | 9.4
II Construction-restoration works
1 | Installation of wooden roof structures with antiseptization and fireproofing | m³ | 7.28
2 | Installation of the smooth painted sheet metal decking on the roof | m² | 562
3 | Fabrication and installation of collecting funnels | pieces | 8
4 | Fabrication and installation of culverts | run.m | 48
5 | Arrangement of 14 cm height granite baseboard on the I floor, to fabricate a new one, analogue of the existing one. | run.m | 64.5
6 | Arrangement of the wire mesh on the cleaned walls and plastering with cement mortar | m² | 117
7 | Arrangement of simple profile platbands (section 7X4cm) and shelves on the side facades' apertures of the I floor, by using sand-cement | run.m | 54
8 | On the I floor pillars - cleaning of the granite base and restoration of the damaged section, 40 cm height (restoration of about 20%) | run.m | 25.5
9 | Restoration of I floor columns - column #1 (taking patterns of capital and base and fabrication of new ones with sand cement, with reinforcement) see design | pieces | 8
10 | On the I floor - cleaning granite caps, restoration and fabrication of the new ones, 18 cm height (to fabricate new ones for 80%, analogue of the existing ones) | run.m | 105
11 | Fabrication of the new decorative vases #1 with sand cement, similar to the existing ones | pieces | 20
12 | Fabrication of the new decorative element #1 with sand cement, similar to the existing ones | pieces | 6
13 | Restoration of II floor columns - column #2, taking patterns of capital and base and fabrication of new ones with sand cement | pieces | 36
14 | Restoration of II floor columns - column #3, taking patterns of capital and base and fabrication of new ones with sand cement, plastering the column body with decorative plastering method | pieces | 8
15 | Pilaster #1 (II floor). Cleaning-restoration of the capital, taking pattern of the base and fabrication of the new ones with sand cement, plastering the column body with decorative plastering method | pieces | 34
16 | Pilaster #2 (II floor). Cleaning-restoration | pieces | 2
17 | Railing #1 fabrication of the new one with sand cement, according to the existing analogue | run.m | 95
18 | Railing #2 cleaning-restoration, fabrication of about 40%, according to the existing analogue | run.m | 6.6
19 | Railing #3 cleaning-restoration, fabrication of about 60%, according to the existing analogue | run.m | 38.5
20 | Decorative frieze- about 40 m2. cleaning-restoration, fabrication of about 80%, according to the existing analogue | run.m | 76.1
21 | Decorative platband #1 (II floor.) cleaning-restoration of about18 m2. | run.m | 32
22 | Decorative platband #2 (II floor. arch) cleaning-restoration of about19 m2. fabrication of about 40%, according to the existing analogue | run.m | 44
23 | Decor #1 - cleaning-restoration, fabrication of about 60%, according to the existing analogue | run.m | 105
24 | Decor #2 - cleaning-restoration, fabrication of about 80%, according to the existing analogue | sq.m. | 3
25 | Decorative element #2 fabrication of the new one according to the existing analogue | sq.m. | 1.6
26 | Decorative element #3, cleaning-restoration, fabrication of about 80%, according to the existing analogue | pieces | 2
27 | Decorative vase #2, fabrication of the new one according to the existing analogue | pieces | 2
28 | Decorative rosette on the fronton of the front facade- cleaning-restoration | pieces | 1
29 | Ceiling - cleaning, restoration of damaged sections, puttying and painting | sq.m. | 360
30 | Finishing with Chognari stone (I floor.) cleaning, restoration of 15% damaged sections, coating with stop-off lacquer | sq.m. | 110
31 | Finishing with Eklar stone- cleaning, restoration of 65% damaged sections, coating with stop-off lacquer | sq.m. | 480
32 | Staircase, solid granite steps13X38X340 - cleaning, restoration of 20% damaged sections, | pieces | 96
33 | Decorative plastering (I floor) | sq.m. | 164
34 | Plastering façade with cement mortar | sq.m. | 50
35 | Plastering the exterior retaining wall, decorative plaster | sq.m. | 120
36 | Wooden window #1 (I floor. arched) - 6 units, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 18
37 | Wooden door #1 (I floor. arched) - 3 units, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 12
38 | Wooden door #2 (I floor) - 1 unit, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 3.2
39 | Wooden window #2 (I floor) - 9 units, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 20.6
40 | Wooden window #2a (I floor) - 2 units, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 3.15
41 | Wooden window #3 (II floor) - 7 units, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 25
42 | Wooden window #4 (II floor) - 4 units, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 9
43 | Wooden door #4 (II floor) - 1 unit, fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 5
44 | Wooden blank window #1 (II floor.) - 6 units fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 49
45 | Wooden blank window #2 (II floor.) - 2 units fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 20
46 | Wooden blank window #3 (II floor.) - 2 units fabrication with new, solid wood, analogue of the existing one. Applying 2 coats of lacquer-paint | sq.m. | 36
47 | Installation of new luminaries | pieces | 6
48 | Cement lining on the floor and staircase landings (30mm thick) | m² | 400
49 | Arrangement of damp proof course on the floor and staircase landings, with ruberoid on the hot bitumen mastic -10mm | m² | 400
50 | Laying granite slabs on the floor and staircase landings 300X30X25mm, on the adhesive cement | m² | 400
51 | Patterning plastering | m² | 150
Total

## B-13
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Adaptation of town Tskaltubo railway station building for arrangement in I storey of resort management office
Office rehabilitation works
# | Title of works, costs and equipment | Unit | Quantity | Cost
|  |  |  | Unit cost | Total
1 | 2 | 3 | 4 | 5 | 6
Demolition works
1 | Brick walls demolition | m3 | 18.5
2 | Monolithic reinforced concrete stairs demolition | m3 | 17.8
3 | Brick partitions demolition | m2 | 150
4 | Wood partitions demolition | m2 | 177.6
5 | Clear of walls and ceilings from plaster | m2 | 2306.3704
6 | Demolition of existing floors | m2 | 837.2
7 | Demolition of existing cement covering | m2 | 733.7
8 | Building clearing from construction waste | t | 766.206
9 | Construction waste manual loading on truck | t | 766.206
10 | disposal of construction waste on 20 km distance | t | 766.2
Construction works
Floor slab arrangement
1 | Arrangement of holes in walls for installation of metal elements | m3 | 0.288
2 | Installation of metal frame | t | 0.938
| U-beam #27 | t | 0.3723
| U-beam #12 | t | 0.0561
| I-beam #27 #12 | t | 0.442
| Angle bar | t | 0.067932
3 | Arrangements of cast-in-situ reinforced concrete floor slabs B-20 | m3 | 5
| Reinforcement bar | t | 1.61
Reinforcement works
1 | Reinforcement of walls and fences by metal structures | t | 2.2673
2 | Arrangement of cast-in-situ reinforced concrete fence B-20 | m3 | 0.2
| Reinforcement | t | 0.012
Walls and partitions
1 | Arrangement of walls with small-size block with thickness 60 cm | m3 | 25
2 | Arrangement of walls with small-size block with thickness 20 cm | m3 | 9.8
3 | Partition arrangement d=10 cm (with partition block) | მ2 | 123
6 | Connection of existing and design walls by reinforcement bar rods | t | 0.0454
| Reinforcement bar | t | 0.0454
7 | Arrangement of anodyzed aluminum vitrages | m2 | 33.93
8 | Arrangement of metal plastic vitrages | m2 | 16.3
9 | Arrangement of inserted in metal-plastic glass partition | m2 | 33.83
10 | Arrangement of windows wood framings | g.m | 23.3
11 | Covering of lacque on window's framing | m2 | 5.8
12 | Water proofing of walls along the axis ,,z" inside Cement and Liquid glass solution | m2 | 165
Floors
1 | Arrangement of floor's thermal insulation by slag concrete with thickness 35 mm | m3 | 4.24
2 | Arrangement of floor's thermal insulation by slag concrete with thickness 50 mm | m3 | 30.64
3 | Arrangement of floor's thermal insulation | m2 | 612.7
4 | Arrangements of cement covering with thickness 20mm | m2 | 733.7
5 | Arrangements of cement covering with thickness 15mm | m2 | 733.7
6 | Water proofing on veranda on 3.5 m level in axis 1-3 and 8-9 | m2 | 151.2
7 | Covering of flooring tiles on glue - cement | m2 | 46.6
8 | Arrangement of laminate floor with plinths | m2 | 353.8
9 | Arrangements of artificial granite thin slabs floor | m2 | 212.5
10 | Arrangements of artificial granite thin slabs h=7cm | g.m | 75
11 | Floors facing by basalt thin slabs on cement mortar MM | m2 | 121
Ceilings
1 | Arrangement of ceiling by ,,Amstrong" tiles on metal frame | m2 | 300
2 | Arrangement of plastic ceiling on metal frame | m2 | 46
3 | Covering of ceilings by gypsum plasterboards | m2 | 54.7
4 | Ceiling daubing by sand-cement mortar | m2 | 103.8
5 | Restoration of existing ceiling by alabaster | m2 | 38.2
6 | Ceiling covering by filling cement | m2 | 349.9
7 | Ceiling painting by water paint | m2 | 349.9
Walls
1 | Walls high-quality daubing by alabaster | m2 | 1137.3
2 | Daubing of windows and doors by alabster | m2 | 142.7
3 | Walls daubing by sand-cement mortar | m2 | 200
4 | Tiles covering on wall | m2 | 200
5 | Arrangement in water closet handles and accessories for disabled persons | Set | 2
6 | Twice painting of walls by water paint | m2 | 1280
Windows and doors
1 | Installation of MDF doors | m2 | 50.6
2 | Installation and cost of metal grids (on windows) | t | 0.098
Construction works for engineering and utility services room arrangement
1 | Manual earth works | m3 | 5.936
2 | Soil manual backfilling | m3 | 1.2
3 | Soil manual loading on truck | t | 9.165
4 | Soil disposal on 20 km | t | 9.165
5 | Arrangement of ballast base under foundation slab | m3 | 10
6 | Arrangement of cast-in-situ reinforced concrete foundation slab B-20 | m3 | 5
| Reinforcement | t | 0.293
7 | Arrangement of walls by small-size block | m3 | 8.83
8 | Arrangement of metal doors by metal grid with thickness 3.8mm, mesh 65X65 m2=8.6 | t | 0.12
| Angle bar50X5 | t | 0.069156
| Angle bar | t | 0.026826
| Arrangement of blinds on windows | t | 0.024
9 | Arrangement of cast-in-situ reinforced concrete roofing slab B20 | m3 | 3.3
| Reinforcement bar | t | 0.297
10 | Arrangement of cement covering with thickness 40mm | m2 | 23
11 | Arrangement of roof with 2 layer of linocrom | m2 | 23
12 | Painting of metal doors and window grids by oil-based paint | m2 | 5.8
13 | Arrangement of cement covering with thickness 40mm | m2 | 17.5
14 | Facing of flooring tiles on glue- cement | m2 | 17.5
15 | Daubing of interior walls by sand-cement mortar | m2 | 41.7
16 | Daubing of ceiling by sand-cement mortar | m2 | 17.5
17 | Daubing of exterior walls by sand-cement mortar | m2 | 45.96
18 | double painting of walls by water emulsion inhibitor | m2 | 41.7
19 | Painting of ceiling by water emulsion inhibitor | m2 | 17.5
20 | Painting of front by facade paint | m2 | 46
Total
Internal sewage and water supply
1 | Installation of sewerage with plastic pipes d=100 mm | m | 172
| Plastic pipe d=150 mm | m | 32
| Plastic pipe d=100 mm | m | 140
2 | Installation of sewerage with plastic pipes d=50 mm | m | 80
| Plastic pipe d=50 mm | m | 80
3 | Installation of plastic Tee | piece | 26
| Plastic Tee100/100/100 | piece | 14
| Plastic Tee 100/50/100 | piece | 5
| Plastic Tee 50/50/50 | piece | 7
4 | Installation of plastic shaped parts | piece | 75
| Plastic elbow d=100 135* | piece | 14
| Plastic elbow Dd=100 90* | piece | 12
| Plastic elbow d=50 135* | piece | 20
| Plastic elbow d=50 90* | piece | 16
| Rubber adopter d=50 | piece | 11
| Silicone | piece | 3
| Plastic adaptor 100X50 | piece | 2
5 | Arrangement of precast reinforcement cement sewerage manhole with cast iron cover d=1 m H=1.5m | Set | 3
6 | Arrangement of floor drain d=50 mm | piece | 11
| Floor drain d=50 mm | piece | 11
7 | Manual earth works | m3 | 6
8 | Ground manual backfilling | m3 | 1.2
9 | Greound manual loading on truck | t | 9.36
10 | Ground disposal on 20 km | t | 41.4
11 | Demolition of concrete foundation | m3 | 18
11 | Restoration of concrete foundation m-150 | m3 | 18
12 | Installation of polypropylene pipes up to D-32,D-25,D-20 mm | m | 96
13 | Installation of polypropylene Tee | piece | 31
| Polypropylene Tee 20/20/20 | piece | 10
| Polypropylene Tee 32/20/32 | piece | 8
| Polypropylene Tee 25/20/25 | piece | 6
| Polypropylene Tee 32/25/32 | piece | 1
| Polypropylene Tee 25/25/25 | piece | 6
14 | Installation of polypropylene shaped parts | piece | 177
| Polypropylene elbow with female thread d=20 | piece | 19
| Polypropylene elbow d=32 | piece | 10
| Polypropylene elbow d=25 | piece | 20
| Polypropylene elbow Dd=20 | piece | 70
| Polypropylene union d=32 | piece | 10
| Polypropylene union d=25 | piece | 8
| Polypropylene union d=20 | piece | 14
| Polypropylene bypass union d=20 | piece | 16
| Polypropylene adapter40X32 | piece | 2
| Polypropylene adapter 32X25 | piece | 2
| Polypropylene connector 25X20 | piece | 4
| Adapter d=32 | piece | 2
| Polypropylene filter d=32 | piece | 1
15 | Installation of polypropylene valves | piece | 26
| Valve d=20mm | piece | 5
| Valve d=25mm | piece | 1
| Valve d=32mm | piece | 2
| Valve ,,arko" | piece | 19
16 | Installation of closet basin with flushing tanck | Set | 6
| Closet basin | Set | 6
17 | Installation of closet basin with flushing cistern for disabled persons | Set | 2
| Closet basin | Set | 2
18 | Washbasin with siphone and mixer | Set | 6
| Washbasin | Set | 6
19 | Washbasin with siphone and mixer for disabled persons | Set | 2
| Washbasin | Set | 2
20 | d=25mm water metering and reinforced manhole metering arrangement with dimension 800X1000 cast iron cover | Set | 1
21 | Installation of urinal | Setl | 3
| Urinal | Setl | 3
22 | Arrangement of sand pillow | m3 | 1.8
23 | Connection of design water supply system with existing main line | Point | 1
Total
Ventilation of utility core
1 | Installation of plastic pipes D-100mm - D-150mm | m | 61
2 | Arrrangement of shaped parts | piece | 18
3 | Consumer fan | Set | 9
Total
Ventilation
1 | Inflow system #1 channel fan L=4250 m3/hr heat charger Q=55 KW, surface air cooler Q=30 KW, with sound damper filter, automatic. | Set. | 1
2 | Inflow system air control shutter grid | Set | 16
3 | Inflow system air channel from galvanazed thin steel sheet 0.6 mm | m2 | 140
4 | Exhaust system #2 channel fan L=4250 m3/hr dp=600Pa with sound damper filter, automatic. | Set. | 1
5 | Exhaust system air control shutter grid | Set | 16
6 | Inflowsytem air channel from galvanazed thin steel sheet 0.6 mm | m2 | 130
7 | thermal insulation of air channel (special material) | m2 | 270
Total
Heating
Boiler house
1 | Installation of boiler for heating 100 KW. | Set. | 1
2 | Grid circulation pump H=10m, Q=5.8 m3/hr | Set. | 5
3 | Membrane expansion tank 80 l | Set. | 1
4 | Polypropylene foiled pipe | m | 26
| Polypropylene foiled pipe d=63 mm | m | 26
5 | Manometer | piece | 4
6 | Automatic air initiator d=20 | piece | 4
7 | Thermometer | piece | 4
8 | Gas fuel burner (100 KW) | Set | 1
9 | Deflector d=150 mm | piece | 1
10 | Filter d= 63 mm | piece | 1
11 | Back valve d=63 mm | piece | 1
12 | Arrangement of foundation for chimney form cast-in-situ Reinforced Concrete B20 | m3 | 1.5
13 | Steel chimney d=250mm 10m with painting | t | 0.476
14 | Plastic valve D-63mm | piece | 4
14 | Polypropylene elbow d=63 | piece | 12
15 | Heat insulation of pipes d=63 (by special material) | m | 26
16 | Installation of aluminum sectional radiators | piece | 14
| radiator H15 | piece | 7
| radiator H14 | piece | 2
| radiator H10 | piece | 4
| radiator H8 | piece | 1
| Hanger | Set | 28
17 | Polypropylene foiled pipe | m | 226
| Pipe d=20 mm | m | 76
| Pipe d=25 mm | m | 50
| Pipe d=32 mm | m | 16
| Pipe d=50 mm | m | 16
| Pipe d=63 mm | m | 16
| Pipe d=40 mm | m | 52
18 | Plastic control ball valve for aluminum sectional radiator | piece | 28
19 | Aluminum sectorial radiator reductor installation | piece | 56
20 | Installation of aluminim sectional radiator plug | piece | 28
21 | Installtion of air relief for aluminum sectional radiator | piece | 28
22 | Installtion of aluminum sectional radiator hanger | Set | 28
23 | Control ball valve for aluminum sectional radiator | piece | 4
| Valve d=40mm | piece | 2
| Valve d=50mm | piece | 2
24 | Installtion of polypropylene Tee | piece | 36
| T-bend 63/50/63 | piece | 2
| T-bend 40/20/40 | piece | 16
| T-bend 32/20/32 | piece | 8
| T-bend 25/20/25 | piece | 10
25 | Installtion of polypropylene haped parts | piece | 178
26 | Heat insulation of pipes d=63 (by special material) | m | 16
27 | Heat insulation of pipes d=50 (by special material) | m | 16
28 | Heat insulation of pipes d=40 (by special material) | m | 52
29 | Heat insulation of pipes d=32 (by special material) | m | 16
30 | Heat insulation of pipes d=25 (by special material) | m | 50
31 | Heat insulation of pipes d=20 (by special material) | m | 76
32 | Split system conditioner BTU 24000 | Set | 2
33 | Split system conditioner BTU 9000 | Set | 1
Total
Electric installation work and weak currents
1 | Electric service panel 250A | Set | 1
2 | Boiler electric service panel with 16 automatic fuses | Set | 1
3 | Distribution electric board with 18 automatic fuses | Set | 1
4 | Installation of cables | m | 2417
| Cables ВВГ 3X1.5 mm² | m | 965
| Cables ВВГ 3X2.5 mm² | m | 885
| Cables ВВГ 3X4 mm² | m | 526
| Cables ВВГ 4X4 mm² | m | 25
| Cables ВВГ 4X2.5 mm² | m | 16
| Cable corrugated pipe | m | 1790
4 | Automatic fuse (See Specification) | piece | 22
5 | Armstrong luminaire 72 W | piece | 50
6 | Illuminators | piece | 110
| Luminaire 36 W | piece | 32
| Luminaire 40 W | piece | 9
| Luminaire 25 W | piece | 19
| Luminaire72 W | piece | 50
7 | One button plug | piece | 30
8 | double button plug | piece | 6
9 | Socket | piece | 44
10 | Distributive box with cover | piece | 52
11 | Plug box (various materials) | Set | 78
12 | Arrangement of earth | Set | 1
12 | Computer socket RJ 45 5-th category | piece | 26
13 | Phone socket RJ 45 5-th category | c | 26
14 | Installation of Cabele | m | 2738
| Cable 3X95 / 1X50 mm | m | 400
| Cable 3X6mm | m | 75
| Cable 4X16mm | m | 95
| Comp Lan Cable U/UTPGAT 5E | m | 1040
| Comp Lan Cable U/UTPGAT 6E | m | 88
| Tel Cable ysty 2X2X0,6 | m | 1040
15 | pan panels and switch | piece | 3
16 | Cable organizer | piece | 1
17 | Communication rack | piece | 1
18 | Mini automatic switching center 4/24 | Set | 1
19 | Server cabinet with cooler unit and shelf | Set | 1
20 | Computer hardware | piece | 20
21 | Uninterruptible power supply | piece | 1
22 | Phone panel 1 | piece | 21
23 | Rawplug anchor0.6mm | Set | 3
24 | Belt 150X8mm | piece | 300
25 | Bridle 20X10mm | piece | 300
26 | Terminal block 4 mm2 | piece | 60
27 | Terminal block 2.5 mm2 | piece | 70
28 | Terminal block 1.5 mm2 | piece | 80
29 | Isolation line | piece | 5
30 | Earth rod32X1200 mm | piece | 6
31 | Earth galvanized belt 30X5 mm | piece | 49
Total
All Total

## B-14
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Rehabilitation-reconstruction project for existing fountain in square adjacent to railway station
# B15
№№ | Works and cost description | dimension | quantity | Estimated cost (GEL)
|  |  |  | Unit Rate | Total
1 | 2 | 3 | 4 | 5 | 6
Square Arrangement
1 | Concrete base arrangement under basalt curb | m3 | 5.8
2 | Basalt curb arrangement 0,40X0,30 m | g.m. | 70
3 | Basalt curb arrangement 0,10X0,30 m | g.m. | 42
4 | road metal arrangement under basalt strip 15 sm | m3 | 30.9
5 | Sand cement base arrangement under basalt strips 10 sum | m3 | 21.7
6 | Basalt strips finishing 0,10X0,10X0,10 m | m2 | 217
7 | filling and manual leveling of black loose ground | m3 | 13
8 | grass cover | m2 | 54.7
Fountain
9 | Decorative figures dismantling | c | 16
10 | Decorative fish dismantling | c | 3
11 | pool bottom cleaning from existing construction waste and disposal in distance of 5 km | m3 | 13
12 | Road metal arrangement under monolithic slab 10 sm | m3 | 6.2
13 | 10 sm reinforced monolithic concrete supplementary m-300 | m3 | 6.5
14 | Reinforcement a-III | kg | 283
15 | Fountain basalt slab processing -cleaning | m2 | 11.55
16 | Damaged basalt tiles replacement (30%) | m2 | 5.1
17 | Fountain pool walls scrape and plastering | m2 | 30
18 | volume scrape and plastering under fish figures | m2 | 70
19 | painting fountain and pool with water resistance high quality paint | m2 | 100
20 | Decorative figures installation (copy patterns and fabrication of new ones with sand cement, with reinforcement) | c | 16
21 | Decorative fish installation (copy patterns and fabrication of new ones with sand cement, with reinforcement) | c | 3
22 | cleaning surrounding territory of the pool from construction waste and disposal in a distance of 5 km. | m3 | 195
IV. Arrangement of Water supply and irrigative networks for Fountain.
1 | Removal of asphalt concrete on the pavement 10 sm | m3 | 2.2
2 | Loading construction waste on dump truck and disposal in distance of 5 km | t | 4.84
3 | Road metal arrangement base arrangement under asphalt concrete 20 sm | m2 | 22
4 | Sand gravel base arrangement under asphalt concrete sidewalk 20 sm | m3 | 2.2
5 | Pavement covering with asphalt concrete 6 sm (lower layer) | m2 | 22
6 | Pavement Covering with asphalt concrete (upper layer) | m2 | 22
7 | Trench excavating III grade virgin soil | m3 | 31
8 | manual excavating III grade virgin soil | m3 | 6
9 | Trench processing in IIIgrade virgin soil after excavation | m3 | 7
10 | Arrangement of sand base under polyethylene pipes 10 sm | m3 | 4
11 | Trench manual filling with sand, and compaction | m3 | 12
12 | Trench manual filling with virgin soil, compaction | m3 | 13
13 | Trench manual filling with ballast | m3 | 4.3
14 | Loading discharger with extra virgin soil and disposal in distance of 5 km. | t | 60.45
15 | Foundation pit excavation III rate virgin soil | m3 | 37
16 | Foundation pit bottom leveling in III rate virgin soil after excavation | m3 | 1
17 | Manual backfilling of gap with local virgin soil and compaction. | m3 | 28.8
18 | Loading dump truck with extra virgin soil and disposal in distance of 5 km. | t | 17.94
19 | Arrangement of monolithic reinforced pumping station well 1,5х1,4 mх1,8 m
| Arrangement of concrete В-7,5 preparation layer | m3 | 0.46
| Arrangement of well with monolithic reinforced concrete В25 W8 (On 100 kg concrete "IZOMAT" "PLASTIPROOF"-1 water resistance 2kg addition ) | m3 | 4.76
| Reinforcement cost a-III | kg | 89.04
| Arrangement of concrete В25 base for pumps | m3 | 0.04
| Stair installation | kg | 20.3
| cast iron cover installation d=700 mm | c | 1
20 | arrangement of water supply well with no less than reinforced concrete rings Ø1,0 m, h1,5m, with bottom and cover slab cast iron frame and hooks (1,4 m3) | c | 2
21 | Sewerage well arrangement with no less than reinforced concrete rings Ø1,0 m, h1,5m, with bottom and cover slab cast iron frame and hooks (0,9 m3) | c | 1
22 | Polymeric well arrangement for valve Ǿ250 mm | c | 1
23 | Placing water supply discharger polyethylene pipe Ǿ110 mm PN-6 into the trench with hydraulic testing and disinfection wash out. | g.m. | 23.5
24 | Placing water supply spilling polyethylene pipe Ǿ80 mm PN-6 into the trench with hydraulic testing and disinfection wash out | g.m. | 5.3
25 | Placing water supply polyethylene pipe Ǿ50 mm PN-6 into the tranche with hydraulic testing and disinfection wash out | g.m. | 21
26 | Placing water supply polyethylene pipe Ǿ32 mm PN-6 into the trench with hydraulic testing and disinfection wash out | g.m. | 2.5
27 | Placing water supply absorbing steel jointless pipe Ǿ50 mm into the trench with hydraulic testing and disinfection wash out | g.m. | 1.4
28 | Placing water supply injection steel pipe Ǿ25 mm into the trench and disinfection wash out | g.m. | 1.5
29 | Water supply polyethylene pipe Ǿ50 mm PN-6 installation with hydraulic testing and disinfection wash out | g.m. | 0.5
30 | Water supply polyethylene pipe Ǿ32 mm PN-6 installation with hydraulic testing and disinfection wash out | g.m. | 2
31 | Water supply polyethylene joint less pipe Ǿ50 mm installation with hydraulic testing and disinfection wash out | g.m. | 31
32 | Installation of water supply absorbing joint less steel pipe Ǿ50 mm with hydraulic testing and disinfection wash out | g.m. | 2
33 | Installation of water supply absorbing steel pipe Ǿ80 mm with hydraulic testing and disinfection was out | g.m. | 17.5
34 | Installation of water supply injection steel pipe Ǿ25 mm with hydraulic testing and disinfection wash out | g.m. | 12
35 | Installation of water supply joint less steel pipe Ǿ15 mm with hydraulic testing and disinfection was out | g.m. | 15
36 | Connection of design discharger polyethylene pipe Ǿ110 mm with existing well. | adg | 1
37 | Existing fountain pool concrete dismantling with demolishing hammers for stair arrangement | g.m. | 55.5
38 | Drilling existing fountain concrete walls for pipes. | c | 6
39 | Filling of existing fountain pool stairs. | m3 | 0.45
40 | Double painting of steel pipe with anticorrosion paint | m2 | 0.8
41 | steel pipe clip | kg | 15
42 | Polyethylene pipe clip | c | 2
43 | gate valve installation Ǿ100 mm | c | 1
44 | gate valve installation Ǿ50 mm | c | 2
45 | valve installation Ǿ50 mm | c | 1
46 | valve installation Ǿ25 mm | c | 1
47 | back valve installation Ǿ80 mm | c | 1
48 | back valve installation Ǿ50 mm | c | 1
49 | back valve Ǿ32 mm | c | 1
50 | back valve installation Ǿ25 mm | c | 1
51 | manometers installation | c | 1
52 | Installation of polyethylene shaped parts | c | 19
| adapter Ǿ50/80 mm | c | 1
| adapter Ǿ40/50 mm | c | 3
| Adapter from plastic to steel with female screw Ǿ40 mm | c | 2
| Adapter from plastic steel with mail screw Ǿ50 mm | c | 1
| Adapter from plastic to steel with mail screw Ǿ80 mm | c | 1
| bend Ǿ50 mm | c | 2
| bend Ǿ80 mm | c | 2
| bend Ǿ110 mm | c | 1
| elbow Ǿ50 mm α=450 | c | 2
| adaptor with flange Ǿ50 mm | c | 2
| Adaptor with flange Ǿ100 mm | c | 2
53 | Installation of steel shaped parts | kg | 62.2
| adapter Ǿ40/50 mm | c | 1
| Tee Ǿ80/15 mm | c | 12
| Tee Ǿ50/15 mm | c | 16
| Tee Ǿ80 mm | c | 3
| TeeǾ50 mm | c | 1
| bend Ǿ125 mm | c | 1
| bend Ǿ80 mm | c | 2
| bend Ǿ50 mm | c | 5
| bend Ǿ25 mm | c | 6
| bend Ǿ15 mm | c | 16
| Elbow Ǿ125 mm α=450 | c | 1
| Elbow Ǿ80 mm α=180 | c | 2
| Elbow Ǿ25 mm α=600 | c | 1
| Elbow Ǿ15 mm α=450 | c | 16
| flange Ǿ50 mm | c | 6
| flange Ǿ40 mm | c | 2
| flange Ǿ25 mm | c | 4
54 | water meter knot Ǿ40 mm with filter | kompl | 1
55 | Steel pipe for ventilation with umbrella Ǿ125 mm | g.m. | 4.5
56 | Absorbing pipe with filter YH-250 | c | 1
57 | spilling pipe " skimer" model LI300 | c | 1
58 | discharge pipe OU400-BB | c | 1
59 | fountain first row spraying header expenditure Q=12l/wT, flow altitude H=0,75 m, pressure H=0,9m | c | 16
60 | Fountain second row spraying header expenditure Q=56l/wT,flow altitude H=0,5 m, pressure H=1,4m | c | 12
61 | Fountain spraying header expenditure SQ=25l/wT, flow altitude Rle H=1,0 m, pressure H=1,1m | c | 1
62 | #1 lower line circulating pump Q=207l/wT H=4,7m, N=170vt | c | 1
63 | #2 middle line circulating pump Q=672,0l/wT H=11,0m, N=1000vt | c | 1
64 | #3 upper line circulating pump Q=25,0l/wT H=7,6m, N=0,37vt | c | 1
65 | #4 Design floating pump H=6,0m, N=0,32kvt, n=2900br/w | c | 1
Irrigative network
66 | Placing water supply Polyethylene pipe Ǿ20 mm PN-6 in trench with hydraulic testing and disinfection was out(black) | g.m. | 3.5
67 | valve installation Ǿ20 mm | c | 1
68 | Irrigation quick connection valve QCV-3/4M P=33 | c | 1
69 | fitting set for quick connection knot with tap 3/4M P=33 DK | c | 1
70 | Plastic unti vandal fitting PVRA-50 3/4X3/4 | c | 1
71 | elbow Ǿ20 mm | c | 1
72 | saddle Ǿ40/20 mm | c | 1
73 | Arranging water supply polymeric well Ǿ250 mm | c | 1
I. civil works
1 | Trench manual excavation in III grade virgin soil for cable placing | m3 | 42
2 | Sand base arrangement under cables 10 sm | m3 | 6
3 | Cables sand backfilling 10 sm | m3 | 6
4 | processed virgin soil manual backfilling | m3 | 30
5 | Loading dump truck with extra virgin soil and disposing in distance of 5 km. | t | 23.4
II. Installation works
6 | Cable installation | g.m. | 125
7 | cable installation | g.m. | 90
8 | Cable installation | g.m. | 100
9 | corrugated pipe Ǿ20 mm | g.m. | 100
10 | corrugated pipe Ǿ30 mm | g.m. | 90
11 | Shield MDB | c | 1
12 | control shield CP | c | 1
13 | lamp PL300.CW | c | 12
14 | Water resistance distributive box | c | 1
15 | Water resistance inlet JL203 | g.m. | 1
16 | Water resistance inlet JL201 | g.m. | 1
17 | ground bus | c | 6
18 | galvanized strip 30X5 | g.m. | 20
III. Unforeseen Materials for installation works
19 | cable installation NYY3X1,5 | g.m. | 50
20 | cable installation NYY5X1,5 | g.m. | 10
21 | cable installation NYY2X1,5 | g.m. | 40
22 | cable installation 12X1,5 | g.m. | 90
23 | cable installation H07RN-F 2X6 | g.m. | 25
24 | cable installation H07RN-F 2X1,5 | g.m. | 100
25 | corrugated pipe Ǿ20 mm | g.m. | 100
26 | corrugated pipe Ǿ30 mm | g.m. | 90
27 | shield MDB | c | 1
28 | switch board CP | c | 1
29 | lamp PL300.CW | c | 12
30 | Water resistance distributive box | c | 1
31 | Water resistance inlet JL203 | g.m. | 1
32 | water resistance inlet JL201 | g.m. | 1
33 | ground bus | c | 6
34 | galvanized strip 30X5 | g.m. | 20
Total

## D
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Daily Works
| Cost |  | Cost
# | Sub-Chapter | Facility Name | Cost
1 | D-1 | Labor force
2 | D-2 | Materials
3 | D-3 | Construction devices
Total

## D-work
Restoration and Internal Repairing works of Train Station and LCG Building and restoration of Small Size Pedestrian Bridges in Tskaltubo
Sub-Chapter D- Daily Works
Cost | [5 empty] | GEL
# | Part | Name | Measure | Quantity | Unit Price | Total Cost
[5 empty] | GEL | GEL
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | D-1 | Labour force
2 | D1-1 | Team-leader | Hour | 200
3 | D1-2 | Qualified worker | Hour | 200
4 | D1-3 | Non-qualified worker | Hour | 400
5 | D1-4 | Lorry driver | Hour | 100
6 | D1-5 | Excavator, operator | Hour | 100
8 | D1-6 | Crane operator | Hour | 200
10 | D1-7 | Mobile ramming device operator | Hour | 50
Total D1
| D2 | Materials
2 | D 2-1 | Concrete B-20 | m3 | 70
3 | D 2-2 | Sand gravel | m3 | 40
4 | D 2-3 | Various diamater pipes | m | 400
5 | D 2-4 | Reinforcement A-I | t | 1
6 | D 2-5 | Reinforcement A-III | t | 4.3041
7 | D 2-6 | Various diamater and various section pipes | m | 380
8 | D 2-7 | Electric wiring | m | 380
9 | D 2-8 | Ballast | m3 | 40
10 | D 2-9 | Wood materials | m3 | 14
11 | D 2-10 | Ceramic tiles | m2 | 100
12 | D 2-11 | Cement | t | 40
13 | D 2-12 | Sand | m3 | 30
Total D.2
1 | D.3 | Construction devices
2 | D.3-1 | Dump trucks | m/sT | 50
3 | D.3-2 | Excavator 0.25 m3 | m/sT | 100
4 | D.3-3 | Dump truck | m/sT | 100
5 | D.3-4 | Crane 10 t. | m/sT | 80
8 | D.3-5 | Mobile ramming machine 10t | m/sT | 50
Total D.3